{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":14,"n_cols":8,"rows_kept":14,"cut":false,"hidden":false,"merged":[[13,2,13,5],[13,6,13,7],[6,7,12,7],[2,0,4,7]],"flags":["formulas_cached_only"]}
[]
[]
["泰州中学附属初级中学2022年消防器材维修清单"]
[]
[]
["NO.","产品名称","规格","单位","数量","单价","总价","备注"]
[1,"消防水带","8-65-20；含接扣","只",8,null,null,"含税及负责安装到位"]
[2,"门把手","飞越；含安装","个",10]
[3,"阀门","佳琪65；含安装","只",9]
[4,"消火栓门框","1800*700；含安装及墙面修补","张",30]
[5,"接合器","天广；SQS100-11.6A；含安装","张",4]
[6,"灭火器灌装","3kg干粉；含摆放到位","具",463]
[7,"灭火器 ","3kg干粉；含摆放到位","具",6]
[8,"合计"]